| Ontology Requirements Specification |  |
| --- | --- |
| Performance |  |
| Tasks | Description |
| Purpose | Based on the operational stage of buildings aims at monitoring and improving their energy performance. |
| Scope | The ontology will include comfort evaluation, energy demand, consumption or generation, will be complemented by optimization capabilities for the management of comfort-aware building energy consumption, management of District Heating networks or energy matching. - Definition of energy efficiency measurements and to provide support for preventive and predictive maintenance of the systems at building level. - Identification of possible action plans and selection of optimal solution to provide energy savings considering sustainability aspects and thermal comfort - To monitor and optimise the electrical distribution system operation - Implementation of several energy prediction applications, depending on the input data - To identify when a PV system is not performing properly - To maximize the value of an investment of a PV system - Generation of standardised technologies catalogues to support the design of optimal solutions at building or district level of a community |
| Intended Uses | - Define suitable solutions for providing decision support to improve sustainable aspects and improve thermal comfort. Additionally, to develop technical functionalities for building management, fault detection and diagnostics. - Evaluate and report performance measurements. - To understand and predict accurately the behavior of the system operation so as to be optimized and avoid volatilities - The final benefit is a high-quality prediction tool, based on latest techniques and applications to calculate carbon footprint - Identification of possible maintenance actions in a PV system and its overall efficiency - Increase of self-consumption and reduction of surplus production of the PV system - The outcome will be helping a tool that provides list of potential technologies that can be applied based on building/ districts and area specific characteristics. This will allow members of a community to make better decisions, when designing renovation road maps at the local level (specific blocks of buildings/ district). |
| Competency questions (CQs) | - What are the renewable energy sources in buildings energy system? - What devices does a PV system have? - What weather data need to be collected for building energy analysis? Temperature, humidity, solar radiation, barometric pressure, dew point - Which indicators shows the comfort level of people in buildings? Predicted Mean Vote (PMV), Percentage People Dissatisfied (PPD) - What can be monitored in buildings? Energy consumption, thermal performance, indoor air quality - What are the 2 largest energy consumers in buildings? HVAC, lighting - What tools are used for monitoring energy consumption in buildings? Smart meters, smart electrical appliances, smart HVAC system - Which indicators are included in indoor air quality? PM, CO2, NO2, VOCs, relative humidity - What are the devices to use renewable energy sources? Solar panel, wind turbine, heat pump |
| Design |  |
| Tasks | Description |
| Purpose | Aiming at facilitating the design, refurbishment and development of building infrastructure. |
| Scope | The ontology focuses at building level design of retrofitting actions, as well as at district level design of networks. - Identification of list of possible renovation actions to improve energy efficiency at building level. - Selection of relevant indicators to be displayed in the corresponding digital twin. - To effectively understand the operation of the DH Network. - To understand the impact in the operation of the DH Network of adding new buildings to the network. |
| Intended Uses | - Definition of priorities for the possible refurbishment actions to enhance the energy efficiency of buildings and provision of associated economic information. - Define the best way to report on the chosen indicators in the digital twin environment: How to access these indicators, how to display them (point values, evolution) and possible operations to perform with them (report generation, export). KPIs presented in this way can provide a quick overview of the performance of the building. - To predict accurately the behavior of the facility, its response to possible changes and increase the knowledge about the operation of the facility. - To predict accurately the behavior of the new buildings to be integrated in the existing district heating network; and to analyze the whole future facility, its response to possible changes and increase the knowledge about the operation of the facility. |
| Competency questions (CQs) | - What is DH Network? District Heating Network - What are the various heat sources commonly used in district heating systems? fossil or renewable fuels, nuclear fission, solar heat, underground heat - What is EV? Electric Vehicle - What devices are included in an EV charging station? Charging unit, plug, cable, power management system - What are the Different EV Charging Levels? Level 1, Level 2, Level 3/ DC Fast-Charging - Can a hybrid car be charged by EV charging system? Yes - What are the purposes for building refurbishment? Maintenance, modernization, aesthetic improvements, adaptation, preservation, sustainability, cost-effectiveness |
| Policy |  |
| Tasks | Description |
| Purpose | Support policy making and policy impact assessment. |
| Scope | The ontology will be targeting three main elements revolving around policies at different scales: Sustainable Energy and Climate Action Plans, Energy Performance Certificates and impact assessment of EU policies for buildings. - Support policy-makers regarding climate change initiatives and action plans. - Support EPC issuers in detecting errors in the data entry to EPC softwares. - To offer information about potential energy building improvements to be applied in buildings taking into account those measures indicated in the EPCs. - Support policy making, by providing optimal solutions under a ranging number of different criteria. |
| Intended Uses | - The outcome will help to build a tool that enables policy-makers to gain valuable insights and make better decisions when they plan and design action plans to tackle climate change. This tool will be enabled by visualizations, comparisons and aggregation based on existing data and possibly data that the user will provide. - The outcome will help to build a relevant tool that enables EPC issuers to offer trustful calculations on energy consumption and saving and also Regional Administration civil servant (EPC register) to verify registered EPCs detecting potential errors increasing the quality of EPC’s Regional Administration data sets - The outcome will help a relevant tool that will allow the energy efficiency planner to obtain valuable insights from the registered buildings EPCs, for making better decisions when designing action plans and also will provide information of estimated EPCs to different actors: Energy Performance Certification (EPC) issuers, buildings buyers and sellers, landlords and tenants. - To gather all the energy building improvements available in the EPCs. To show this information in a visual and structured way in one useful way for the end-users. - The outcome of the service will be a graphical representation of optimal portfolios, which features a different pair of cost-risk values. For each selected action, the number the number of interventions is extracted from the optimization process. For each intervention of the selected actions, the year of implementation is also decided from the optimization process. |
| Competency questions (CQs) | - What is EPC? Energy Performance Certificate - What is the rating system of EPC? A, B, C, D, E, F, G - How long will an EPC certificate be valid? 10 years - What factors and parameters are considered in the EPC rating process? Building’s types, insulation, heating/cooling systems, lighting, appliances - Which people can provide EPC? Domestic Energy Assessor |
| Fund |  |
| Tasks | Description |
| Purpose | Contributing to better define Energy Performance Contract conditions. |
| Scope | The ontology addresses challenges for enhanced reliability and reduced risks of energy efficiency investments, tailored to ESCOs and financing institutions, will also tackle the centralization of building stock data, the analysis of refurbishment actions and the evaluation of their bankability through the testing of one-stop-shops at city level. - Show information regarding the performance of public building (School building available) based on energy consumption data provided by the municipality. - To show information regarding the consumption of residential buildings based on calculation using public and open data - Selection of the best mathematical model to predict energy savings - Verification of the savings achieved after the implementation of Energy Conservation Measures (ECMs) to a building/district through a recognized measurement and verification protocol (IPMVP) - Give the possibility to calculate the possible risk in investment in energy efficiency - To gather all the energy building improvements available in the EPCs. To show this information in a visual and structured way in one useful way for the end-users. - Identify quickly based on the data provided what action can be taken to achieve certain energy savings. |
| Intended Uses | - a) Visualize specific information about energy performance of public buildings b) Workers use it to compare the performance of different buildings. c) The KPIs can provide information about the possibility to refurbish the building. - To calculate using EPBD-based algorithms estimation for consumption of residential buildings using public information. To show this information geo-located in a map - Define M&V plan based on IPMVP (Option C). Selection of the best mathematical model to predict energy savings. - Verify and report the savings achieved after the implementation of ECMs. - The outcome will be a tool by means the user can visualize the possible risk on investment in energy efficiency using the engine developed in the EEnvest project. - Identify quickly based on the data provided what action can be taken to achieve certain energy savings. - To define reliable investments, to identify opportunities and make comparisons between different energy efficiency actions and to have a better view of funding direction and proposals. |
| Competency questions (CQs) | - What topics should the questionnaire contains? Building energy consumption - What people should answer the questionnaire? The residents of residential buildings, users of public buildings - What is included in the school calendar? Start date, end date, holidays, vacations - What kinds of public buildings are there? Government buildings, educational buildings, cultural and recreational buildings, healthcare facilities, transportation hubs, religious buildings - What kinds of residential buildings are there? Single-family house, multi-family house, dormitory, assisted living facility, mobile house |

| Non-functional requirements | - The ontology should be able to handle a growing number of concepts and instances. - The developed ontology must be presented in a common ontology language. - The developed ontology must be based on the existing knowledge sources. - The ontology should maintain internal consistency, ensuring that concepts and relationships are logically sound and do not contradict each other. |
| --- | --- |

Energy, Buildings, Device, weather, Questionnaire, EPC, EV Charging Station, Calendar, People